## Readme
Ελληνικό Κέντρο Βιοτόπων-Υγροτόπων. Τεχνητή Λίμνη Μαραθώνα. Φυσικοχημικά δεδομένα 2013-2021. Εθνικό Δίκτυο Παρακολούθησης των υδάτων των λιμνών της Ελλάδας (Οδηγία 2000/60/ΕΚ), Γενική Διεύθυνση Υδάτων-ΥΠΕΝ.

## ΜΕΤΡΗΣΕΙΣ ΘΡΕΠΤΙΚΑ 2013
ΕΘΝΙΚΟΣ_ΚΩΔΙΚΟΣ_ΣΤΑΘΜΟΥ | ΕΘΝΙΚΟ_ΟΝΟΜΑ_ΣΤΑΘΜΟΥ | ΗΜΕΡΑ_ΔΕΙΓΜΑΤΟΛ | ΜΗΝΑΣ_ΔΕΙΓΜΑΤΟΛ | ΕΤΟΣ_ΔΕΙΓΜΑΤΟΛ | ΠΑΡΑΜΕΤΡΟΣ | ΜΟΝΑΔΑ_ΜΕΤΡΗΣΗΣ | ΜΕΤΡΗΣΗ | ΕΚΤΟΣ_ΟΡΙΟΥ_ΠΟΣΟΤΙΚΟΠΟΙΗΣΗΣ | ΟΡΙΟ_ΠΟΣΟΤΙΚΟΠΟΙΗΣΗΣ | ΟΡΙΟ_ΑΝΙΧΝΕΥΣΗΣ | ΒΑΘΟΣ_ΔΕΙΓΜΑΤΟΣ | ΣΧΟΛΙΑ
GR000600030010H500 | Techniti Limni Marathona | 6 | 2 | 2013 | Secchi depth | m | 3 |  |  |  |  | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, Use of Secchi Disc
GR000600030010H500 | Techniti Limni Marathona | 21 | 5 | 2013 | pH | pH | 8.19 |  |  |  | 2 | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 21 | 5 | 2013 | Electrical conductivity | μS/cm | 263 |  |  |  | 2 | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 21 | 5 | 2013 | Secchi depth | m | 3 |  |  |  |  | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, Use of Secchi Disc
GR000600030010H500 | Techniti Limni Marathona | 21 | 5 | 2013 | Oxygen saturation | % | 123.3 |  |  |  | 2 | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 21 | 5 | 2013 | Temperature (water) | °C | 22.7 |  |  |  | 2 | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 24 | 7 | 2013 | pH | pH | 8.38 |  |  |  | 2 | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 24 | 7 | 2013 | Electrical conductivity | μS/cm | 315.26 |  |  |  | 2 | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 24 | 7 | 2013 | Secchi depth | m | 4.2 |  |  |  |  | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, Use of Secchi Disc
GR000600030010H500 | Techniti Limni Marathona | 24 | 7 | 2013 | Oxygen saturation | % | 89.1 |  |  |  | 2 | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 24 | 7 | 2013 | Dissolved oxygen | mg/l O2 | 7.24 |  |  |  | 2 | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 24 | 7 | 2013 | Temperature (water) | °C | 24.6 |  |  |  | 2 | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 24 | 7 | 2013 | Ammonium | mg/l N | 0.31 |  | 0.31 | 0.16 |  | Sampling depth: Euphotic zone. CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, Ion Chromatography
GR000600030010H500 | Techniti Limni Marathona | 24 | 7 | 2013 | Orthophosphates | mg/l P | 0.33 |  | 0.33 | 0.13 |  | Sampling depth: Euphotic zone. CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, Ion Chromatography
GR000600030010H500 | Techniti Limni Marathona | 24 | 7 | 2013 | Nitrate | mg/l N | 0.18306 |  | 0.09 | 0.03 |  | Sampling depth: Euphotic zone. CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, Ion Chromatography
GR000600030010H500 | Techniti Limni Marathona | 20 | 9 | 2013 | pH | pH | 8.42 |  |  |  | 2 | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 20 | 9 | 2013 | Electrical conductivity | μS/cm | 308.8 |  |  |  | 2 | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 20 | 9 | 2013 | Secchi depth | m | 3.7 |  |  |  |  | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, Use of Secchi Disc
GR000600030010H500 | Techniti Limni Marathona | 20 | 9 | 2013 | Oxygen saturation | % | 96.5 |  |  |  | 2 | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 20 | 9 | 2013 | Dissolved oxygen | mg/l O2 | 8.02 |  |  |  | 2 | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 20 | 9 | 2013 | Temperature (water) | °C | 23.2 |  |  |  | 2 | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 20 | 9 | 2013 | Ammonium | mg/l N | 0.31 |  | 0.31 | 0.16 |  | Sampling depth: Euphotic zone. CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, Ion Chromatography
GR000600030010H500 | Techniti Limni Marathona | 20 | 9 | 2013 | Orthophosphates | mg/l P | 0.33 |  | 0.33 | 0.13 |  | Sampling depth: Euphotic zone. CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, Ion Chromatography
GR000600030010H500 | Techniti Limni Marathona | 20 | 9 | 2013 | Nitrate | mg/l N | 0.09266 |  | 0.09 | 0.03 |  | Sampling depth: Euphotic zone. CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, Ion Chromatography
GR000600030010H500 | Techniti Limni Marathona | 21 | 10 | 2013 | pH | pH | 8.24 |  |  |  | 2 | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 21 | 10 | 2013 | Secchi depth | m | 5.3 |  |  |  |  | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, Use of Secchi Disc
GR000600030010H500 | Techniti Limni Marathona | 19 | 12 | 2013 | pH | pH | 7.9 |  |  |  | 2 | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 19 | 12 | 2013 | Electrical conductivity | μS/cm | 339.92 |  |  |  | 2 | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 19 | 12 | 2013 | Secchi depth | m | 4 |  |  |  |  | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, Use of Secchi Disc
GR000600030010H500 | Techniti Limni Marathona | 19 | 12 | 2013 | Oxygen saturation | % | 89.3 |  |  |  | 2 | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 19 | 12 | 2013 | Dissolved oxygen | mg/l O2 | 9.61 |  |  |  | 2 | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 19 | 12 | 2013 | Temperature (water) | °C | 11.2 |  |  |  | 2 | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, In situ measurement with portable meter

## ΜΕΤΡΗΣΕΙΣ θΡΕΠΤΙΚΑ 2014
ΕΘΝΙΚΟΣ_ΚΩΔΙΚΟΣ_ΣΤΑΘΜΟΥ | ΕΘΝΙΚΟ_ΟΝΟΜΑ_ΣΤΑΘΜΟΥ | ΗΜΕΡΑ_ΔΕΙΓΜΑΤΟΛ | ΜΗΝΑΣ_ΔΕΙΓΜΑΤΟΛ | ΕΤΟΣ_ΔΕΙΓΜΑΤΟΛ | ΠΑΡΑΜΕΤΡΟΣ | ΜΟΝΑΔΑ_ΜΕΤΡΗΣΗΣ | ΜΕΤΡΗΣΗ | ΕΚΤΟΣ_ΟΡΙΟΥ_ΠΟΣΟΤΙΚΟΠΟΙΗΣΗΣ | ΟΡΙΟ_ΠΟΣΟΤΙΚΟΠΟΙΗΣΗΣ | ΟΡΙΟ_ΑΝΙΧΝΕΥΣΗΣ | ΒΑΘΟΣ_ΔΕΙΓΜΑΤΟΣ | ΣΧΟΛΙΑ
GR000600030010H500 | Techniti Limni Marathona | 30 | 1 | 2014 | pH | pH | 8.1 |  |  |  | 2 | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 30 | 1 | 2014 | Electrical conductivity | μS/cm | 282.3 |  |  |  | 2 | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 30 | 1 | 2014 | Secchi depth | m | 3.2 |  |  |  |  | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, Use of Secchi Disc
GR000600030010H500 | Techniti Limni Marathona | 30 | 1 | 2014 | Oxygen saturation | % | 93.4 |  |  |  | 2 | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 30 | 1 | 2014 | Dissolved oxygen | mg/l O2 | 10.15 |  |  |  | 2 | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 30 | 1 | 2014 | Temperature (water) | °C | 10.7 |  |  |  | 2 | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 7 | 4 | 2014 | pH | pH | 8.42 |  |  |  | 2 | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 7 | 4 | 2014 | Electrical conductivity | μS/cm | 323.12 |  |  |  | 2 | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 7 | 4 | 2014 | Secchi depth | m | 4 |  |  |  |  | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, Use of Secchi Disc
GR000600030010H500 | Techniti Limni Marathona | 7 | 4 | 2014 | Oxygen saturation | % | 109.3 |  |  |  | 2 | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 7 | 4 | 2014 | Dissolved oxygen | mg/l O2 | 10.67 |  |  |  | 2 | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 7 | 4 | 2014 | Temperature (water) | °C | 15.2 |  |  |  | 2 | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 19 | 5 | 2014 | Secchi depth | m | 3.8 |  |  |  |  | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, Use of Secchi Disc
GR000600030010H500 | Techniti Limni Marathona | 17 | 6 | 2014 | pH | pH | 8.6 |  |  |  | 2 | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 17 | 6 | 2014 | Electrical conductivity | μS/cm | 310.4 |  |  |  | 2 | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 17 | 6 | 2014 | Secchi depth | m | 4 |  |  |  |  | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, Use of Secchi Disc
GR000600030010H500 | Techniti Limni Marathona | 17 | 6 | 2014 | Oxygen saturation | % | 113.7 |  |  |  | 2 | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 17 | 6 | 2014 | Dissolved oxygen | mg/l O2 | 9.23 |  |  |  | 2 | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 17 | 6 | 2014 | Temperature (water) | °C | 24.7 |  |  |  | 2 | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 29 | 7 | 2014 | pH | pH | 8.43 |  |  |  | 2 | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 29 | 7 | 2014 | Electrical conductivity | μS/cm | 300.2 |  |  |  | 2 | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 29 | 7 | 2014 | Secchi depth | m | 6 |  |  |  |  | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, Use of Secchi Disc
GR000600030010H500 | Techniti Limni Marathona | 29 | 7 | 2014 | Oxygen saturation | % | 106.3 |  |  |  | 2 | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 29 | 7 | 2014 | Dissolved oxygen | mg/l O2 | 8.34 |  |  |  | 2 | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 29 | 7 | 2014 | Temperature (water) | °C | 26.3 |  |  |  | 2 | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 20 | 8 | 2014 | pH | pH | 8.24 |  |  |  | 2 | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 20 | 8 | 2014 | Electrical conductivity | μS/cm | 276.7 |  |  |  | 2 | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 20 | 8 | 2014 | Secchi depth | m | 6.4 |  |  |  |  | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, Use of Secchi Disc
GR000600030010H500 | Techniti Limni Marathona | 20 | 8 | 2014 | Oxygen saturation | % | 105 |  |  |  | 2 | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 20 | 8 | 2014 | Dissolved oxygen | mg/l O2 | 8.35 |  |  |  | 2 | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 20 | 8 | 2014 | Temperature (water) | °C | 26 |  |  |  | 2 | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 20 | 8 | 2014 | Ammonium | mg/l N | 0.3108 | < | 0.31 | 0.16 |  | Sampling depth: Euphotic zone. CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, Ion Chromatography
GR000600030010H500 | Techniti Limni Marathona | 20 | 8 | 2014 | Orthophosphates | mg/l P | 0.326 | < | 0.33 | 0.13 |  | Sampling depth: Euphotic zone. CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, Ion Chromatography
GR000600030010H500 | Techniti Limni Marathona | 20 | 8 | 2014 | Nitrate | mg/l N | 0.09266 | < | 0.09 | 0.03 |  | Sampling depth: Euphotic zone. CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, Ion Chromatography
GR000600030010H500 | Techniti Limni Marathona | 24 | 9 | 2014 | Electrical conductivity | μS/cm | 302 |  |  |  | 2 | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 24 | 9 | 2014 | Secchi depth | m | 5.3 |  |  |  |  | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, Use of Secchi Disc
GR000600030010H500 | Techniti Limni Marathona | 24 | 9 | 2014 | Oxygen saturation | % | 106.3 |  |  |  | 2 | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 24 | 9 | 2014 | Dissolved oxygen | mg/l O2 | 8.82 |  |  |  | 2 | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 24 | 9 | 2014 | Temperature (water) | °C | 23.6 |  |  |  | 2 | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 24 | 9 | 2014 | Ammonium | mg/l N | 0.3108 | < | 0.31 | 0.16 |  | Sampling depth: Euphotic zone. CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, Ion Chromatography
GR000600030010H500 | Techniti Limni Marathona | 24 | 9 | 2014 | Orthophosphates | mg/l P | 0.326 | < | 0.33 | 0.13 |  | Sampling depth: Euphotic zone. CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, Ion Chromatography
GR000600030010H500 | Techniti Limni Marathona | 24 | 9 | 2014 | Nitrate | mg/l N | 0.09266 |  | 0.09 | 0.03 |  | Sampling depth: Euphotic zone. CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, Ion Chromatography
GR000600030010H500 | Techniti Limni Marathona | 16 | 10 | 2014 | pH | pH | 8.46 |  |  |  | 2 | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 16 | 10 | 2014 | Electrical conductivity | μS/cm | 274.4 |  |  |  | 2 | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 16 | 10 | 2014 | Secchi depth | m | 4.4 |  |  |  |  | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, Use of Secchi Disc
GR000600030010H500 | Techniti Limni Marathona | 16 | 10 | 2014 | Oxygen saturation | % | 99.5 |  |  |  | 2 | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 16 | 10 | 2014 | Dissolved oxygen | mg/l O2 | 8.8 |  |  |  | 2 | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 16 | 10 | 2014 | Temperature (water) | °C | 20.2 |  |  |  | 2 | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 16 | 10 | 2014 | Alkalinity | mmol/l | 1.06 |  |  |  |  | Sampling depth: Euphotic zone. CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, Titration Method
GR000600030010H500 | Techniti Limni Marathona | 13 | 11 | 2014 | pH | pH | 8.36 |  |  |  | 2 | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 13 | 11 | 2014 | Electrical conductivity | μS/cm | 282.4 |  |  |  | 2 | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 13 | 11 | 2014 | Secchi depth | m | 5.3 |  |  |  |  | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, Use of Secchi Disc
GR000600030010H500 | Techniti Limni Marathona | 13 | 11 | 2014 | Alkalinity | mmol/l | 1.2133 |  |  |  |  | Sampling depth: Euphotic zone. CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, Titration Method
GR000600030010H500 | Techniti Limni Marathona | 17 | 12 | 2014 | pH | pH | 8.13 |  |  |  | 2 | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 17 | 12 | 2014 | Electrical conductivity | μS/cm | 433.8 |  |  |  | 2 | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 17 | 12 | 2014 | Alkalinity | mmol/l | 1.3667 |  |  |  |  | Sampling depth: Euphotic zone. CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, Titration Method
GR000600030010H500 | Techniti Limni Marathona | 17 | 12 | 2014 | Ammonium | mg/l N | 0.3108 | < | 0.31 | 0.16 |  | Sampling depth: Euphotic zone. CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, Ion Chromatography
GR000600030010H500 | Techniti Limni Marathona | 17 | 12 | 2014 | Orthophosphates | mg/l P | 0.326 | < | 0.33 | 0.13 |  | Sampling depth: Euphotic zone. CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, Ion Chromatography
GR000600030010H500 | Techniti Limni Marathona | 17 | 12 | 2014 | Nitrate | mg/l N | 0.1582 |  | 0.09 | 0.03 |  | Sampling depth: Euphotic zone. CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, Ion Chromatography

## ΜΕΤΡΗΣΕΙΣ θΡΕΠΤΙΚΑ 2015
ΕΘΝΙΚΟΣ_ΚΩΔΙΚΟΣ_ΣΤΑΘΜΟΥ | ΕΘΝΙΚΟ_ΟΝΟΜΑ_ΣΤΑΘΜΟΥ | ΗΜΕΡΑ_ΔΕΙΓΜΑΤΟΛ | ΜΗΝΑΣ_ΔΕΙΓΜΑΤΟΛ | ΕΤΟΣ_ΔΕΙΓΜΑΤΟΛ | ΠΑΡΑΜΕΤΡΟΣ | ΜΟΝΑΔΑ_ΜΕΤΡΗΣΗΣ | ΜΕΤΡΗΣΗ | ΕΚΤΟΣ_ΟΡΙΟΥ_ΠΟΣΟΤΙΚΟΠΟΙΗΣΗΣ | ΟΡΙΟ_ΠΟΣΟΤΙΚΟΠΟΙΗΣΗΣ | ΟΡΙΟ_ΑΝΙΧΝΕΥΣΗΣ | ΒΑΘΟΣ_ΔΕΙΓΜΑΤΟΣ | ΣΧΟΛΙΑ
GR000600030010H500 | Techniti Limni Marathona | 15 | 1 | 2015 | Electrical conductivity | μS/cm | 358.9 |  |  |  | 2 | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 15 | 1 | 2015 | Secchi depth | m | 3.4 |  |  |  |  | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, Use of Secchi Disc
GR000600030010H500 | Techniti Limni Marathona | 15 | 1 | 2015 | Oxygen saturation | % | 94.6 |  |  |  | 2 | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 15 | 1 | 2015 | Dissolved oxygen | mg/l O2 | 10.64 |  |  |  | 2 | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 15 | 1 | 2015 | Temperature (water) | °C | 9.1 |  |  |  | 2 | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 12 | 2 | 2015 | pH | pH | 8.17 |  |  |  | 2 | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 12 | 2 | 2015 | Electrical conductivity | μS/cm | 347.8 |  |  |  | 2 | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 12 | 2 | 2015 | Secchi depth | m | 2.8 |  |  |  |  | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, Use of Secchi Disc
GR000600030010H500 | Techniti Limni Marathona | 12 | 2 | 2015 | Oxygen saturation | % | 95 |  |  |  | 2 | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 12 | 2 | 2015 | Dissolved oxygen | mg/l O2 | 10.67 |  |  |  | 2 | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 12 | 2 | 2015 | Temperature (water) | °C | 9.3 |  |  |  | 2 | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 11 | 3 | 2015 | pH | pH | 8.15 |  |  |  | 2 | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 11 | 3 | 2015 | Electrical conductivity | μS/cm | 415.9 |  |  |  | 2 | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 11 | 3 | 2015 | Secchi depth | m | 2.5 |  |  |  |  | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, Use of Secchi Disc
GR000600030010H500 | Techniti Limni Marathona | 11 | 3 | 2015 | Oxygen saturation | % | 102.3 |  |  |  | 2 | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 11 | 3 | 2015 | Dissolved oxygen | mg/l O2 | 11.11 |  |  |  | 2 | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 11 | 3 | 2015 | Temperature (water) | °C | 10.4 |  |  |  | 2 | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 16 | 4 | 2015 | pH | pH | 8.31 |  |  |  | 2 | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 16 | 4 | 2015 | Electrical conductivity | μS/cm | 424.4 |  |  |  | 2 | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 16 | 4 | 2015 | Secchi depth | m | 6 |  |  |  |  | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, Use of Secchi Disc
GR000600030010H500 | Techniti Limni Marathona | 16 | 4 | 2015 | Oxygen saturation | % | 109.8 |  |  |  | 2 | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 16 | 4 | 2015 | Dissolved oxygen | mg/l O2 | 10.9 |  |  |  | 2 | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 16 | 4 | 2015 | Temperature (water) | °C | 14.8 |  |  |  | 2 | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 16 | 4 | 2015 | Total phosphorus | mg/l P | 0.01 | < | 0.01 |  |  | Sampling depth: Euphotic zone. APHA* 4500-P E, Standard methods for the examination of water and wastewater. 2012. 22ndedition.
GR000600030010H500 | Techniti Limni Marathona | 20 | 5 | 2015 | Electrical conductivity | μS/cm | 336.1 |  |  |  | 2 | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 20 | 5 | 2015 | Secchi depth | m | 4.2 |  |  |  |  | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, Use of Secchi Disc
GR000600030010H500 | Techniti Limni Marathona | 20 | 5 | 2015 | Oxygen saturation | % | 116.3 |  |  |  | 2 | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 20 | 5 | 2015 | Dissolved oxygen | mg/l O2 | 10.11 |  |  |  | 2 | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 20 | 5 | 2015 | Temperature (water) | °C | 20.6 |  |  |  | 2 | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 23 | 6 | 2015 | pH | pH | 8.23 |  |  |  | 2 | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 23 | 6 | 2015 | Electrical conductivity | μS/cm | 397.7 |  |  |  | 2 | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 23 | 6 | 2015 | Secchi depth | m | 4.2 |  |  |  |  | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, Use of Secchi Disc
GR000600030010H500 | Techniti Limni Marathona | 23 | 6 | 2015 | Oxygen saturation | % | 111.2 |  |  |  | 2 | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 23 | 6 | 2015 | Dissolved oxygen | mg/l O2 | 9.28 |  |  |  | 2 | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 23 | 6 | 2015 | Temperature (water) | °C | 23.2 |  |  |  | 2 | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 23 | 6 | 2015 | Total phosphorus | mg/l P | 0.01 | < | 0.01 |  |  | Sampling depth: Euphotic zone. APHA* 4500-P E, Standard methods for the examination of water and wastewater. 2012. 22ndedition.
GR000600030010H500 | Techniti Limni Marathona | 23 | 6 | 2015 | Nitrate | mg/l N | 0.52206 |  | 0.09 | 0.03 |  | Sampling depth: Euphotic zone. CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, Ion Chromatography
GR000600030010H500 | Techniti Limni Marathona | 12 | 8 | 2015 | pH | pH | 8.33 |  |  |  | 2 | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 12 | 8 | 2015 | Secchi depth | m | 7 |  |  |  |  | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, Use of Secchi Disc
GR000600030010H500 | Techniti Limni Marathona | 12 | 8 | 2015 | Oxygen saturation | % | 107.5 |  |  |  | 2 | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 12 | 8 | 2015 | Dissolved oxygen | mg/l O2 | 8.43 |  |  |  | 2 | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 12 | 8 | 2015 | Temperature (water) | °C | 26.6 |  |  |  | 2 | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 12 | 8 | 2015 | Total phosphorus | mg/l P | 0.01 | < | 0.01 |  |  | Sampling depth: Euphotic zone. APHA* 4500-P E, Standard methods for the examination of water and wastewater. 2012. 22ndedition.
GR000600030010H500 | Techniti Limni Marathona | 9 | 9 | 2015 | pH | pH | 8.22 |  |  |  | 2 | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 9 | 9 | 2015 | Electrical conductivity | μS/cm | 349.3 |  |  |  | 2 | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 9 | 9 | 2015 | Secchi depth | m | 6 |  |  |  |  | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, Use of Secchi Disc
GR000600030010H500 | Techniti Limni Marathona | 9 | 9 | 2015 | Oxygen saturation | % | 110.5 |  |  |  | 2 | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 9 | 9 | 2015 | Dissolved oxygen | mg/l O2 | 8.91 |  |  |  | 2 | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 9 | 9 | 2015 | Temperature (water) | °C | 25.2 |  |  |  | 2 | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 9 | 9 | 2015 | Nitrate | mg/l N | 0.21244 |  | 0.09 | 0.03 |  | Sampling depth: Euphotic zone. CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, Ion Chromatography
GR000600030010H500 | Techniti Limni Marathona | 11 | 11 | 2015 | Electrical conductivity | μS/cm | 338.1 |  |  |  | 2 | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 11 | 11 | 2015 | Secchi depth | m | 5.4 |  |  |  |  | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, Use of Secchi Disc
GR000600030010H500 | Techniti Limni Marathona | 11 | 11 | 2015 | Oxygen saturation | % | 94.3 |  |  |  | 2 | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 11 | 11 | 2015 | Dissolved oxygen | mg/l O2 | 9.01 |  |  |  | 2 | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 11 | 11 | 2015 | Temperature (water) | °C | 16.6 |  |  |  | 2 | CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 11 | 11 | 2015 | Total phosphorus | mg/l P | 0.01 | < | 0.01 |  |  | Sampling depth: Euphotic zone. APHA* 4500-P E, Standard methods for the examination of water and wastewater. 2012. 22ndedition.
GR000600030010H500 | Techniti Limni Marathona | 11 | 11 | 2015 | Nitrate | mg/l N | 0.36386 |  | 0.09 | 0.03 |  | Sampling depth: Euphotic zone. CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, Ion Chromatography
GR000600030010H500 | Techniti Limni Marathona | 17 | 12 | 2015 | Total phosphorus | mg/l P | 0.011453 |  | 0.01 |  |  | Sampling depth: Euphotic zone. APHA* 4500-P E, Standard methods for the examination of water and wastewater. 2012. 22ndedition.
GR000600030010H500 | Techniti Limni Marathona | 17 | 12 | 2015 | Nitrate | mg/l N | 0.226 |  | 0.09 | 0.03 |  | Sampling depth: Euphotic zone. CEN_ISO/Method: Adapted EN ISO 5667-1:2006/AC:2007, Adapted EN ISO 5667-3:2003, Ion Chromatography

## ΜΕΤΡΗΣΕΙΣ ΘΡΕΠΤΙΚΑ 2016
ΕΘΝΙΚΟΣ_ΚΩΔΙΚΟΣ_ΣΤΑΘΜΟΥ | ΕΘΝΙΚΟ_ΟΝΟΜΑ_ΣΤΑΘΜΟΥ | ΗΜΕΡΑ_ΔΕΙΓΜΑΤΟΛ | ΜΗΝΑΣ_ΔΕΙΓΜΑΤΟΛ | ΕΤΟΣ_ΔΕΙΓΜΑΤΟΛ | ΠΑΡΑΜΕΤΡΟΣ | ΜΟΝΑΔΑ_ΜΕΤΡΗΣΗΣ | ΜΕΤΡΗΣΗ | ΕΚΤΟΣ_ΟΡΙΟΥ_ΠΟΣΟΤΙΚΟΠΟΙΗΣΗΣ | ΟΡΙΟ_ΠΟΣΟΤΙΚΟΠΟΙΗΣΗΣ | ΟΡΙΟ_ΑΝΙΧΝΕΥΣΗΣ | ΒΑΘΟΣ_ΔΕΙΓΜΑΤΟΣ | ΣΧΟΛΙΑ
GR000600030010H500 | Techniti Limni Marathona | 14 | 9 | 2016 | Total phosphorus | mg/l P | 0.029 | < | 0.029 |  |  | Sampling depth: Euphotic zone. APHA* 4500-P E, Standard methods for the examination of water and wastewater. 2012. 22ndedition.
GR000600030010H500 | Techniti Limni Marathona | 14 | 9 | 2016 | Temperature (water) | °C | 23.5 |  |  |  |  | In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 14 | 9 | 2016 | Secchi depth | m | 6.3 |  |  |  |  | Use of Secchi Disc
GR000600030010H500 | Techniti Limni Marathona | 14 | 9 | 2016 | pH | pH | 8.32 |  |  |  |  | In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 14 | 9 | 2016 | Oxygen saturation | % | 102 |  |  |  |  | In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 14 | 9 | 2016 | Nitrate | mg/l NO3 | 0.75 | < | 0.75 | 0.25 |  | Sampling depth: Euphotic zone. CEN_ISO/Method: ISO 10304-01, 2007, modified.
GR000600030010H500 | Techniti Limni Marathona | 14 | 9 | 2016 | Electrical conductivity | μS/cm | 301.7 |  |  |  |  | In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 14 | 9 | 2016 | Dissolved oxygen | mg/l O2 | 8.46 |  |  |  |  | In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 5 | 10 | 2016 | Total phosphorus | mg/l P | 0.029 | < | 0.029 |  |  | Sampling depth: Euphotic zone. APHA* 4500-P E, Standard methods for the examination of water and wastewater. 2012. 22ndedition.
GR000600030010H500 | Techniti Limni Marathona | 5 | 10 | 2016 | Temperature (water) | °C | 21.2 |  |  |  |  | In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 5 | 10 | 2016 | Secchi depth | m | 7.4 |  |  |  |  | Use of Secchi Disc
GR000600030010H500 | Techniti Limni Marathona | 5 | 10 | 2016 | pH | pH | 8.37 |  |  |  |  | In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 5 | 10 | 2016 | Oxygen saturation | % | 98.2 |  |  |  |  | In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 5 | 10 | 2016 | Electrical conductivity | μS/cm | 296.2 |  |  |  |  | In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 5 | 10 | 2016 | Dissolved oxygen | mg/l O2 | 8.49 |  |  |  |  | In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 12 | 11 | 2016 | Total phosphorus | mg/l P | 0.029 | < | 0.029 |  |  | Sampling depth: Euphotic zone. APHA* 4500-P E, Standard methods for the examination of water and wastewater. 2012. 22ndedition.
GR000600030010H500 | Techniti Limni Marathona | 10 | 11 | 2016 | Temperature (water) | °C | 17.1 |  |  |  |  | In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 10 | 11 | 2016 | Secchi depth | m | 4.6 |  |  |  |  | Use of Secchi Disc
GR000600030010H500 | Techniti Limni Marathona | 10 | 11 | 2016 | pH | pH | 8.16 |  |  |  |  | In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 10 | 11 | 2016 | Oxygen saturation | % | 88.5 |  |  |  |  | In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 12 | 11 | 2016 | Nitrate | mg/l NO3 | 1.48 |  | 0.75 | 0.25 |  | Sampling depth: Euphotic zone. CEN_ISO/Method: ISO 10304-01, 2007, modified.
GR000600030010H500 | Techniti Limni Marathona | 10 | 11 | 2016 | Electrical conductivity | μS/cm | 267.7 |  |  |  |  | In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 10 | 11 | 2016 | Dissolved oxygen | mg/l O2 | 8.31 |  |  |  |  | In situ measurement with portable meter

## ΜΕΤΡΗΣΕΙΣ ΘΡΕΠΤΙΚΑ 2017
ΕΘΝΙΚΟΣ_ΚΩΔΙΚΟΣ_ΣΤΑΘΜΟΥ | ΕΘΝΙΚΟ_ΟΝΟΜΑ_ΣΤΑΘΜΟΥ | ΗΜΕΡΑ_ΔΕΙΓΜΑΤΟΛ | ΜΗΝΑΣ_ΔΕΙΓΜΑΤΟΛ | ΕΤΟΣ_ΔΕΙΓΜΑΤΟΛ | ΠΑΡΑΜΕΤΡΟΣ | ΜΟΝΑΔΑ_ΜΕΤΡΗΣΗΣ | ΜΕΤΡΗΣΗ | ΕΚΤΟΣ_ΟΡΙΟΥ_ΠΟΣΟΤΙΚΟΠΟΙΗΣΗΣ | ΟΡΙΟ_ΠΟΣΟΤΙΚΟΠΟΙΗΣΗΣ | ΟΡΙΟ_ΑΝΙΧΝΕΥΣΗΣ | ΒΑΘΟΣ_ΔΕΙΓΜΑΤΟΣ | ΣΧΟΛΙΑ
GR000600030010H500 | Techniti Limni Marathona | 22 | 2 | 2017 | Total phosphorus | mg/l P | 0.029 | < | 0.029 |  |  | Sampling depth: Euphotic zone. APHA* 4500-P E, Standard methods for the examination of water and wastewater. 2012. 22ndedition.
GR000600030010H500 | Techniti Limni Marathona | 22 | 2 | 2017 | Temperature (water) | °C | 9.1 |  |  |  |  | In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 22 | 2 | 2017 | Secchi depth | m | 7.8 |  |  |  |  | Use of Secchi Disc
GR000600030010H500 | Techniti Limni Marathona | 22 | 2 | 2017 | pH | pH | 8.45 |  |  |  |  | In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 22 | 2 | 2017 | Oxygen saturation | % | 105.2 |  |  |  |  | In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 22 | 2 | 2017 | Nitrate | mg/l NO3 | 0.97 |  | 0.75 | 0.25 |  | Sampling depth: Euphotic zone. CEN_ISO/Method: ISO 10304-01, 2007, modified.
GR000600030010H500 | Techniti Limni Marathona | 22 | 2 | 2017 | Electrical conductivity | μS/cm | 260.7 |  |  |  |  | In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 22 | 2 | 2017 | Dissolved oxygen | mg/l O2 | 11.86 |  |  |  |  | In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 22 | 2 | 2017 | Total suspended solids | mg/l | 0.7 |  |  |  |  | Sampling depth: Euphotic zone. APHA* 2540 D, Standard methods for the examination of water and wastewater. 2012. 22ndedition.
GR000600030010H500 | Techniti Limni Marathona | 11 | 4 | 2017 | Total phosphorus | mg/l P | 0.029 | < | 0.029 |  |  | Sampling depth: Euphotic zone. APHA* 4500-P E, Standard methods for the examination of water and wastewater. 2012. 22ndedition.
GR000600030010H500 | Techniti Limni Marathona | 11 | 4 | 2017 | Temperature (water) | °C | 14.6 |  |  |  |  | In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 11 | 4 | 2017 | Secchi depth | m | 6.2 |  |  |  |  | Use of Secchi Disc
GR000600030010H500 | Techniti Limni Marathona | 11 | 4 | 2017 | pH | pH | 8.1 |  |  |  |  | In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 11 | 4 | 2017 | Oxygen saturation | % | 109.3 |  |  |  |  | In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 11 | 4 | 2017 | Nitrate | mg/l NO3 | 2.07 |  | 0.75 | 0.25 |  | Sampling depth: Euphotic zone. CEN_ISO/Method: ISO 10304-01, 2007, modified.
GR000600030010H500 | Techniti Limni Marathona | 11 | 4 | 2017 | Electrical conductivity | μS/cm | 250.6 |  |  |  |  | In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 11 | 4 | 2017 | Dissolved oxygen | mg/l O2 | 10.87 |  |  |  |  | In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 11 | 4 | 2017 | Total suspended solids | mg/l | 1.5 |  |  |  |  | Sampling depth: Euphotic zone. APHA* 2540 D, Standard methods for the examination of water and wastewater. 2012. 22ndedition.
GR000600030010H500 | Techniti Limni Marathona | 21 | 6 | 2017 | Total phosphorus | mg/l P | 0.029 | < | 0.029 |  |  | Sampling depth: Euphotic zone. APHA* 4500-P E, Standard methods for the examination of water and wastewater. 2012. 22ndedition.
GR000600030010H500 | Techniti Limni Marathona | 21 | 6 | 2017 | Temperature (water) | °C | 23.3 |  |  |  |  | In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 21 | 6 | 2017 | Secchi depth | m | 4.8 |  |  |  |  | Use of Secchi Disc
GR000600030010H500 | Techniti Limni Marathona | 21 | 6 | 2017 | pH | pH | 8.81 |  |  |  |  | In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 21 | 6 | 2017 | Oxygen saturation | % | 115.4 |  |  |  |  | In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 21 | 6 | 2017 | Nitrate | mg/l NO3 | 0.75 | < | 0.75 | 0.25 |  | Sampling depth: Euphotic zone. CEN_ISO/Method: ISO 10304-01, 2007, modified.
GR000600030010H500 | Techniti Limni Marathona | 21 | 6 | 2017 | Electrical conductivity | μS/cm | 249.2 |  |  |  |  | In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 21 | 6 | 2017 | Dissolved oxygen | mg/l O2 | 9.57 |  |  |  |  | In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 21 | 6 | 2017 | Total suspended solids | mg/l | 1.49 |  |  |  |  | Sampling depth: Euphotic zone. APHA* 2540 D, Standard methods for the examination of water and wastewater. 2012. 22ndedition.
GR000600030010H500 | Techniti Limni Marathona | 10 | 8 | 2017 | Total phosphorus | mg/l P | 0.029 | < | 0.029 |  |  | Sampling depth: Euphotic zone. APHA* 4500-P E, Standard methods for the examination of water and wastewater. 2012. 22ndedition.
GR000600030010H500 | Techniti Limni Marathona | 10 | 8 | 2017 | Temperature (water) | °C | 26.1 |  |  |  |  | In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 10 | 8 | 2017 | Secchi depth | m | 4.8 |  |  |  |  | Use of Secchi Disc
GR000600030010H500 | Techniti Limni Marathona | 10 | 8 | 2017 | pH | pH | 8.6 |  |  |  |  | In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 10 | 8 | 2017 | Oxygen saturation | % | 106.2 |  |  |  |  | In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 10 | 8 | 2017 | Electrical conductivity | μS/cm | 304.1 |  |  |  |  | In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 10 | 8 | 2017 | Dissolved oxygen | mg/l O2 | 8.39 |  |  |  |  | In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 10 | 8 | 2017 | Total suspended solids | mg/l | 0.78 |  |  |  |  | Sampling depth: Euphotic zone. APHA* 2540 D, Standard methods for the examination of water and wastewater. 2012. 22ndedition.
GR000600030010H500 | Techniti Limni Marathona | 13 | 12 | 2017 | Total phosphorus | mg/l P | 0.029 | < | 0.029 |  |  | Sampling depth: Euphotic zone. APHA* 4500-P E, Standard methods for the examination of water and wastewater. 2012. 22ndedition.
GR000600030010H500 | Techniti Limni Marathona | 13 | 12 | 2017 | Temperature (water) | °C | 13.4 |  |  |  |  | In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 13 | 12 | 2017 | Secchi depth | m | 4.2 |  |  |  |  | Use of Secchi Disc
GR000600030010H500 | Techniti Limni Marathona | 13 | 12 | 2017 | pH | pH | 8.3 |  |  |  |  | In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 13 | 12 | 2017 | Oxygen saturation | % | 92.4 |  |  |  |  | In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 13 | 12 | 2017 | Nitrate | mg/l NO3 | 0.62 |  | 0.24 | 0.08 |  | Sampling depth: Euphotic zone. CEN_ISO/Method: ISO 10304-01, 2007, modified.
GR000600030010H500 | Techniti Limni Marathona | 13 | 12 | 2017 | Electrical conductivity | μS/cm | 249.3 |  |  |  |  | In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 13 | 12 | 2017 | Dissolved oxygen | mg/l O2 | 9.43 |  |  |  |  | In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 13 | 12 | 2017 | Total suspended solids | mg/l | 1.19 |  |  |  |  | Sampling depth: Euphotic zone. APHA* 2540 D, Standard methods for the examination of water and wastewater. 2012. 22ndedition.

## ΜΕΤΡΗΣΕΙΣ ΘΡΕΠΤΙΚΑ 2018
ΕΘΝΙΚΟΣ_ΚΩΔΙΚΟΣ_ΣΤΑΘΜΟΥ | ΕΘΝΙΚΟ_ΟΝΟΜΑ_ΣΤΑΘΜΟΥ | ΗΜΕΡΑ_ΔΕΙΓΜΑΤΟΛ | ΜΗΝΑΣ_ΔΕΙΓΜΑΤΟΛ | ΕΤΟΣ_ΔΕΙΓΜΑΤΟΛ | ΠΑΡΑΜΕΤΡΟΣ | ΜΟΝΑΔΑ_ΜΕΤΡΗΣΗΣ | ΜΕΤΡΗΣΗ | ΕΚΤΟΣ_ΟΡΙΟΥ_ΠΟΣΟΤΙΚΟΠΟΙΗΣΗΣ | ΟΡΙΟ_ΠΟΣΟΤΙΚΟΠΟΙΗΣΗΣ | ΟΡΙΟ_ΑΝΙΧΝΕΥΣΗΣ | ΒΑΘΟΣ_ΔΕΙΓΜΑΤΟΣ | ΣΧΟΛΙΑ
GR000600030010H500 | Techniti Limni Marathona | 23 | 1 | 2018 | Total phosphorus | mg/l P | 0.029 | < | 0.029 |  |  | Sampling depth: Euphotic zone. APHA* 4500-P E, Standard methods for the examination of water and wastewater. 2012. 22ndedition.
GR000600030010H500 | Techniti Limni Marathona | 23 | 1 | 2018 | Temperature (water) | °C | 10.4 |  |  |  |  | In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 23 | 1 | 2018 | Secchi depth | m | 3.6 |  |  |  |  | Use of Secchi Disc
GR000600030010H500 | Techniti Limni Marathona | 23 | 1 | 2018 | Oxygen saturation | % | 95.1 |  |  |  |  | In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 23 | 1 | 2018 | Nitrate | mg/l NO3 | 0.63 |  | 0.24 | 0.08 |  | Sampling depth: Euphotic zone. CEN_ISO/Method: ISO 10304-01, 2007, modified.
GR000600030010H500 | Techniti Limni Marathona | 23 | 1 | 2018 | Electrical conductivity | μS/cm | 291.7 |  |  |  |  | In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 23 | 1 | 2018 | Dissolved oxygen | mg/l O2 | 10.33 |  |  |  |  | In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 23 | 1 | 2018 | Total suspended solids | mg/l | 1.37 |  |  |  |  | Sampling depth: Euphotic zone. APHA* 2540 D, Standard methods for the examination of water and wastewater. 2012. 22ndedition.
GR000600030010H500 | Techniti Limni Marathona | 2 | 4 | 2018 | Total phosphorus | mg/l P | 0.029 | < | 0.029 |  |  | Sampling depth: Euphotic zone. APHA* 4500-P E, Standard methods for the examination of water and wastewater. 2012. 22ndedition.
GR000600030010H500 | Techniti Limni Marathona | 2 | 4 | 2018 | Temperature (water) | °C | 14.2 |  |  |  |  | In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 2 | 4 | 2018 | Secchi depth | m | 8.8 |  |  |  |  | Use of Secchi Disc
GR000600030010H500 | Techniti Limni Marathona | 2 | 4 | 2018 | Oxygen saturation | % | 104.7 |  |  |  |  | In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 2 | 4 | 2018 | Nitrate | mg/l NO3 | 0.48 |  | 0.24 | 0.08 |  | Sampling depth: Euphotic zone. CEN_ISO/Method: ISO 10304-01, 2007, modified.
GR000600030010H500 | Techniti Limni Marathona | 2 | 4 | 2018 | Electrical conductivity | μS/cm | 314.6 |  |  |  |  | In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 2 | 4 | 2018 | Dissolved oxygen | mg/l O2 | 10.42 |  |  |  |  | In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 2 | 4 | 2018 | Total suspended solids | mg/l | 1.33 |  |  |  |  | Sampling depth: Euphotic zone. APHA* 2540 D, Standard methods for the examination of water and wastewater. 2012. 22ndedition.
GR000600030010H500 | Techniti Limni Marathona | 5 | 7 | 2018 | Total phosphorus | mg/l P | 0.029 | < | 0.029 |  |  | Sampling depth: Euphotic zone. APHA* 4500-P E, Standard methods for the examination of water and wastewater. 2012. 22ndedition.
GR000600030010H500 | Techniti Limni Marathona | 30 | 7 | 2018 | Total phosphorus | mg/l P | 0.029 | < | 0.029 |  |  | Sampling depth: Euphotic zone. APHA* 4500-P E, Standard methods for the examination of water and wastewater. 2012. 22ndedition.
GR000600030010H500 | Techniti Limni Marathona | 5 | 7 | 2018 | Temperature (water) | °C | 25.6 |  |  |  |  | In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 30 | 7 | 2018 | Temperature (water) | °C | 26.4 |  |  |  |  | In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 5 | 7 | 2018 | Secchi depth | m | 6.4 |  |  |  |  | Use of Secchi Disc
GR000600030010H500 | Techniti Limni Marathona | 30 | 7 | 2018 | Secchi depth | m | 4.6 |  |  |  |  | Use of Secchi Disc
GR000600030010H500 | Techniti Limni Marathona | 5 | 7 | 2018 | Oxygen saturation | % | 108.4 |  |  |  |  | In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 30 | 7 | 2018 | Oxygen saturation | % | 109.4 |  |  |  |  | In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 5 | 7 | 2018 | Nitrate | mg/l NO3 | 0.31 |  | 0.24 | 0.08 |  | Sampling depth: Euphotic zone. CEN_ISO/Method: ISO 10304-01, 2007, modified.
GR000600030010H500 | Techniti Limni Marathona | 30 | 7 | 2018 | Nitrate | mg/l NO3 | 0.43 |  | 0.24 | 0.08 |  | Sampling depth: Euphotic zone. CEN_ISO/Method: ISO 10304-01, 2007, modified.
GR000600030010H500 | Techniti Limni Marathona | 5 | 7 | 2018 | Electrical conductivity | μS/cm | 297.7 |  |  |  |  | In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 30 | 7 | 2018 | Electrical conductivity | μS/cm | 269.9 |  |  |  |  | In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 5 | 7 | 2018 | Dissolved oxygen | mg/l O2 | 8.64 |  |  |  |  | In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 30 | 7 | 2018 | Dissolved oxygen | mg/l O2 | 8.54 |  |  |  |  | In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 30 | 7 | 2018 | Total suspended solids | mg/l | 0.81 |  |  |  |  | Sampling depth: Euphotic zone. APHA* 2540 D, Standard methods for the examination of water and wastewater. 2012. 22ndedition.
GR000600030010H500 | Techniti Limni Marathona | 29 | 8 | 2018 | Total phosphorus | mg/l P | 0.029 | < | 0.029 |  |  | Sampling depth: Euphotic zone. APHA* 4500-P E, Standard methods for the examination of water and wastewater. 2012. 22ndedition.
GR000600030010H500 | Techniti Limni Marathona | 29 | 8 | 2018 | Temperature (water) | °C | 24.7 |  |  |  |  | In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 29 | 8 | 2018 | Secchi depth | m | 6 |  |  |  |  | Use of Secchi Disc
GR000600030010H500 | Techniti Limni Marathona | 29 | 8 | 2018 | Oxygen saturation | % | 101.7 |  |  |  |  | In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 29 | 8 | 2018 | Nitrate | mg/l NO3 | 0.24 | < | 0.24 | 0.08 |  | Sampling depth: Euphotic zone. CEN_ISO/Method: ISO 10304-01, 2007, modified.
GR000600030010H500 | Techniti Limni Marathona | 29 | 8 | 2018 | Electrical conductivity | μS/cm | 272.5 |  |  |  |  | In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 29 | 8 | 2018 | Dissolved oxygen | mg/l O2 | 8.23 |  |  |  |  | In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 29 | 8 | 2018 | Total suspended solids | mg/l | 1.92 |  |  |  |  | Sampling depth: Euphotic zone. APHA* 2540 D, Standard methods for the examination of water and wastewater. 2012. 22ndedition.
GR000600030010H500 | Techniti Limni Marathona | 19 | 9 | 2018 | Total phosphorus | mg/l P | 0.029 | < | 0.029 |  |  | Sampling depth: Euphotic zone. APHA* 4500-P E, Standard methods for the examination of water and wastewater. 2012. 22ndedition.
GR000600030010H500 | Techniti Limni Marathona | 19 | 9 | 2018 | Temperature (water) | °C | 23.1 |  |  |  |  | In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 19 | 9 | 2018 | Secchi depth | m | 6.1 |  |  |  |  | Use of Secchi Disc
GR000600030010H500 | Techniti Limni Marathona | 19 | 9 | 2018 | Oxygen saturation | % | 99.9 |  |  |  |  | In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 19 | 9 | 2018 | Electrical conductivity | μS/cm | 275.2 |  |  |  |  | In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 19 | 9 | 2018 | Dissolved oxygen | mg/l O2 | 8.37 |  |  |  |  | In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 19 | 9 | 2018 | Total suspended solids | mg/l | 0.33 |  |  |  |  | Sampling depth: Euphotic zone. APHA* 2540 D, Standard methods for the examination of water and wastewater. 2012. 22ndedition.
GR000600030010H500 | Techniti Limni Marathona | 21 | 11 | 2018 | Total phosphorus | mg/l P | 0.017 | < | 0.017 |  |  | Sampling depth: Euphotic zone. APHA* 4500-P E, Standard methods for the examination of water and wastewater. 2012. 22ndedition.
GR000600030010H500 | Techniti Limni Marathona | 21 | 11 | 2018 | Temperature (water) | °C | 15.8 |  |  |  |  | In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 21 | 11 | 2018 | Secchi depth | m | 4.8 |  |  |  |  | Use of Secchi Disc
GR000600030010H500 | Techniti Limni Marathona | 21 | 11 | 2018 | Oxygen saturation | % | 91.3 |  |  |  |  | In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 21 | 11 | 2018 | Electrical conductivity | μS/cm | 270.4 |  |  |  |  | In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 21 | 11 | 2018 | Dissolved oxygen | mg/l O2 | 8.76 |  |  |  |  | In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 21 | 11 | 2018 | Total suspended solids | mg/l | 1.75 |  |  |  |  | Sampling depth: Euphotic zone. APHA* 2540 D, Standard methods for the examination of water and wastewater. 2012. 22ndedition.

## ΜΕΤΡΗΣΕΙΣ ΘΡΕΠΤΙΚΑ 2019
ΕΘΝΙΚΟΣ_ΚΩΔΙΚΟΣ_ΣΤΑΘΜΟΥ | ΕΘΝΙΚΟ_ΟΝΟΜΑ_ΣΤΑΘΜΟΥ | ΗΜΕΡΑ_ΔΕΙΓΜΑΤΟΛ | ΜΗΝΑΣ_ΔΕΙΓΜΑΤΟΛ | ΕΤΟΣ_ΔΕΙΓΜΑΤΟΛ | ΠΑΡΑΜΕΤΡΟΣ | ΜΟΝΑΔΑ_ΜΕΤΡΗΣΗΣ | ΜΕΤΡΗΣΗ | ΕΚΤΟΣ_ΟΡΙΟΥ_ΠΟΣΟΤΙΚΟΠΟΙΗΣΗΣ | ΟΡΙΟ_ΠΟΣΟΤΙΚΟΠΟΙΗΣΗΣ | ΟΡΙΟ_ΑΝΙΧΝΕΥΣΗΣ | ΒΑΘΟΣ_ΔΕΙΓΜΑΤΟΣ | ΣΧΟΛΙΑ
GR000600030010H500 | Techniti Limni Marathona | 2 | 1 | 2019 | Dissolved oxygen | mg/l O2 | 10.08 |  |  |  |  | In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 2 | 1 | 2019 | Electrical conductivity | μS/cm | 244.5 |  |  |  |  | In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 2 | 1 | 2019 | Oxygen saturation | % | 93.3 |  |  |  |  | In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 2 | 1 | 2019 | Secchi depth | m | 4.3 |  |  |  |  | Use of Secchi Disc
GR000600030010H500 | Techniti Limni Marathona | 2 | 1 | 2019 | Temperature (water) | °C | 10.5 |  |  |  |  | In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 2 | 1 | 2019 | Total phosphorus | mg/l P | 0.017 | < | 0.017 |  |  | Sampling depth: Euphotic zone. APHA* 4500-P E, Standard methods for the examination of water and wastewater. 2012. 22ndedition.
GR000600030010H500 | Techniti Limni Marathona | 2 | 1 | 2019 | Total suspended solids | mg/l | 1.3 |  |  |  |  | Sampling depth: Euphotic zone. APHA* 2540 D, Standard methods for the examination of water and wastewater. 2012. 22ndedition.
GR000600030010H500 | Techniti Limni Marathona | 18 | 3 | 2019 | Dissolved oxygen | mg/l O2 | 11.1 |  |  |  |  | In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 18 | 3 | 2019 | Electrical conductivity | μS/cm | 415.5 |  |  |  |  | In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 18 | 3 | 2019 | Nitrate | mg/l NO3 | 2.4 |  | 0.27 | 0.09 |  | Sampling depth: Euphotic zone. CEN_ISO/Method: ISO 10304-01, 2007, modified.
GR000600030010H500 | Techniti Limni Marathona | 18 | 3 | 2019 | Oxygen saturation | % | 106.1 |  |  |  |  | In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 18 | 3 | 2019 | pH | pH | 8.49 |  |  |  |  | In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 18 | 3 | 2019 | Secchi depth | m | 7.5 |  |  |  |  | Use of Secchi Disc
GR000600030010H500 | Techniti Limni Marathona | 18 | 3 | 2019 | Temperature (water) | °C | 12.2 |  |  |  |  | In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 18 | 3 | 2019 | Total phosphorus | mg/l P | 0.017 | < | 0.017 |  |  | Sampling depth: Euphotic zone. APHA* 4500-P E, Standard methods for the examination of water and wastewater. 2012. 22ndedition.
GR000600030010H500 | Techniti Limni Marathona | 18 | 3 | 2019 | Total suspended solids | mg/l | 1.71 |  |  |  |  | Sampling depth: Euphotic zone. APHA* 2540 D, Standard methods for the examination of water and wastewater. 2012. 22ndedition.
GR000600030010H500 | Techniti Limni Marathona | 6 | 6 | 2019 | Dissolved oxygen | mg/l O2 | 9.7 |  |  |  |  | In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 6 | 6 | 2019 | Electrical conductivity | μS/cm | 359.9 |  |  |  |  | In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 6 | 6 | 2019 | Nitrate | mg/l NO3 | 1.6 |  | 0.27 | 0.09 |  | Sampling depth: Euphotic zone. CEN_ISO/Method: ISO 10304-01, 2007, modified.
GR000600030010H500 | Techniti Limni Marathona | 6 | 6 | 2019 | Oxygen saturation | % | 114.5 |  |  |  |  | In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 6 | 6 | 2019 | pH | pH | 8.31 |  |  |  |  | In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 6 | 6 | 2019 | Secchi depth | m | 4 |  |  |  |  | Use of Secchi Disc
GR000600030010H500 | Techniti Limni Marathona | 6 | 6 | 2019 | Temperature (water) | °C | 22.3 |  |  |  |  | In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 6 | 6 | 2019 | Total phosphorus | mg/l P | 0.017 | < | 0.017 |  |  | Sampling depth: Euphotic zone. APHA* 4500-P E, Standard methods for the examination of water and wastewater. 2012. 22ndedition.
GR000600030010H500 | Techniti Limni Marathona | 5 | 6 | 2019 | Total suspended solids | mg/l | 2.18 |  |  |  |  | Sampling depth: Euphotic zone. APHA* 2540 D, Standard methods for the examination of water and wastewater. 2012. 22ndedition.
GR000600030010H500 | Techniti Limni Marathona | 17 | 9 | 2019 | Dissolved oxygen | mg/l O2 | 8.64 |  |  |  |  | In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 17 | 9 | 2019 | Electrical conductivity | μS/cm | 279 |  |  |  |  | In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 17 | 9 | 2019 | Nitrate | mg/l NO3 | 0.29 |  | 0.27 | 0.09 |  | Sampling depth: Euphotic zone. CEN_ISO/Method: ISO 10304-01, 2007, modified.
GR000600030010H500 | Techniti Limni Marathona | 17 | 9 | 2019 | Oxygen saturation | % | 103.4 |  |  |  |  | In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 17 | 9 | 2019 | pH | pH | 8.22 |  |  |  |  | In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 17 | 9 | 2019 | Secchi depth | m | 5.2 |  |  |  |  | Use of Secchi Disc
GR000600030010H500 | Techniti Limni Marathona | 17 | 9 | 2019 | Temperature (water) | °C | 23.2 |  |  |  |  | In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 17 | 9 | 2019 | Total phosphorus | mg/l P | 0.017 | < | 0.017 |  |  | Sampling depth: Euphotic zone. APHA* 4500-P E, Standard methods for the examination of water and wastewater. 2012. 22ndedition.
GR000600030010H500 | Techniti Limni Marathona | 17 | 9 | 2019 | Total suspended solids | mg/l | 1.01 |  |  |  |  | Sampling depth: Euphotic zone. APHA* 2540 D, Standard methods for the examination of water and wastewater. 2012. 22ndedition.
GR000600030010H500 | Techniti Limni Marathona | 7 | 10 | 2019 | Dissolved oxygen | mg/l O2 | 9.16 |  |  |  |  | In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 7 | 10 | 2019 | Electrical conductivity | μS/cm | 284.8 |  |  |  |  | In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 7 | 10 | 2019 | Nitrate | mg/l NO3 | 0.27 | < | 0.27 | 0.09 |  | Sampling depth: Euphotic zone. CEN_ISO/Method: ISO 10304-01, 2007, modified.
GR000600030010H500 | Techniti Limni Marathona | 7 | 10 | 2019 | Oxygen saturation | % | 107.8 |  |  |  |  | In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 7 | 10 | 2019 | pH | pH | 8.12 |  |  |  |  | In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 7 | 10 | 2019 | Secchi depth | m | 4.4 |  |  |  |  | Use of Secchi Disc
GR000600030010H500 | Techniti Limni Marathona | 7 | 10 | 2019 | Temperature (water) | °C | 21.8 |  |  |  |  | In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 7 | 10 | 2019 | Total phosphorus | mg/l P | 0.017 | < | 0.017 |  |  | Sampling depth: Euphotic zone. APHA* 4500-P E, Standard methods for the examination of water and wastewater. 2012. 22ndedition.
GR000600030010H500 | Techniti Limni Marathona | 7 | 10 | 2019 | Total suspended solids | mg/l | 0.48 |  |  |  |  | Sampling depth: Euphotic zone. APHA* 2540 D, Standard methods for the examination of water and wastewater. 2012. 22ndedition.

## ΜΕΤΡΗΣΕΙΣ ΘΡΕΠΤΙΚΑ 2020
ΕΘΝΙΚΟΣ_ΚΩΔΙΚΟΣ_ΣΤΑΘΜΟΥ | ΕΘΝΙΚΟ_ΟΝΟΜΑ_ΣΤΑΘΜΟΥ | ΗΜΕΡΑ_ΔΕΙΓΜΑΤΟΛ | ΜΗΝΑΣ_ΔΕΙΓΜΑΤΟΛ | ΕΤΟΣ_ΔΕΙΓΜΑΤΟΛ | ΠΑΡΑΜΕΤΡΟΣ | ΜΟΝΑΔΑ_ΜΕΤΡΗΣΗΣ | ΜΕΤΡΗΣΗ | ΕΚΤΟΣ_ΟΡΙΟΥ_ΠΟΣΟΤΙΚΟΠΟΙΗΣΗΣ | ΟΡΙΟ_ΠΟΣΟΤΙΚΟΠΟΙΗΣΗΣ | ΟΡΙΟ_ΑΝΙΧΝΕΥΣΗΣ | ΒΑΘΟΣ_ΔΕΙΓΜΑΤΟΣ | ΣΧΟΛΙΑ
GR000600030010H500 | Techniti Limni Marathona | 24 | 2 | 2020 | Total phosphorus | mg/l P | 0.017 | < | 0.017 |  |  | Sampling depth: Euphotic zone. APHA* 4500-P E, Standard methods for the examination of water and wastewater. 2012. 22ndedition.
GR000600030010H500 | Techniti Limni Marathona | 24 | 2 | 2020 | Temperature (water) | °C | 9.9 |  |  |  |  | In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 24 | 2 | 2020 | Secchi depth | m | 5.4 |  |  |  |  | Use of Secchi Disc
GR000600030010H500 | Techniti Limni Marathona | 24 | 2 | 2020 | Oxygen saturation | % | 99.6 |  |  |  |  | In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 24 | 2 | 2020 | Nitrate | mg/l NO3 | 1.6 |  | 0.27 | 0.09 |  | Sampling depth: Euphotic zone. CEN_ISO/Method: ISO 10304-01, 2007, modified.
GR000600030010H500 | Techniti Limni Marathona | 24 | 2 | 2020 | Electrical conductivity | μS/cm | 205.3 |  |  |  |  | In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 24 | 2 | 2020 | Dissolved oxygen | mg/l O2 | 10.97 |  |  |  |  | In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 24 | 2 | 2020 | pH | pH | 8.33 |  |  |  |  | In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 24 | 2 | 2020 | Total suspended solids | mg/l | 0.8 |  |  |  |  | Sampling depth: Euphotic zone. APHA* 2540 D, Standard methods for the examination of water and wastewater. 2012. 22ndedition.
GR000600030010H500 | Techniti Limni Marathona | 15 | 7 | 2020 | Total phosphorus | mg/l P | 0.012 | < | 0.012 |  |  | Sampling depth: Euphotic zone. APHA* 4500-P E, Standard methods for the examination of water and wastewater. 2012. 22ndedition.
GR000600030010H500 | Techniti Limni Marathona | 15 | 7 | 2020 | Temperature (water) | °C | 25 |  |  |  |  | In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 15 | 7 | 2020 | Secchi depth | m | 4.1 |  |  |  |  | Use of Secchi Disc
GR000600030010H500 | Techniti Limni Marathona | 15 | 7 | 2020 | Oxygen saturation | % | 107.5 |  |  |  |  | In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 15 | 7 | 2020 | Nitrate | mg/l NO3 | 1.3 |  | 0.27 | 0.09 |  | Sampling depth: Euphotic zone. CEN_ISO/Method: ISO 10304-01, 2007, modified.
GR000600030010H500 | Techniti Limni Marathona | 15 | 7 | 2020 | Electrical conductivity | μS/cm | 342.4 |  |  |  |  | In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 15 | 7 | 2020 | Dissolved oxygen | mg/l O2 | 8.7 |  |  |  |  | In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 15 | 7 | 2020 | pH | pH | 8.13 |  |  |  |  | In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 15 | 7 | 2020 | Total suspended solids | mg/l | 1.73 |  |  |  |  | Sampling depth: Euphotic zone. APHA* 2540 D, Standard methods for the examination of water and wastewater. 2012. 22ndedition.
GR000600030010H500 | Techniti Limni Marathona | 15 | 7 | 2020 | BOD5 | mg/l | 0.8 |  |  |  |  | Sampling depth: Euphotic zone. BOD5 was measured manometrically using a BOD-analyzer. Preservation and handling of water samples for BOD5 analysis according to ISO 5667-3:2012
GR000600030010H500 | Techniti Limni Marathona | 26 | 8 | 2020 | Total phosphorus | mg/l P | 0.012 | < | 0.012 |  |  | Sampling depth: Euphotic zone. APHA* 4500-P E, Standard methods for the examination of water and wastewater. 2012. 22ndedition.
GR000600030010H500 | Techniti Limni Marathona | 26 | 8 | 2020 | Temperature (water) | °C | 25.4 |  |  |  |  | In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 26 | 8 | 2020 | Secchi depth | m | 6.4 |  |  |  |  | Use of Secchi Disc
GR000600030010H500 | Techniti Limni Marathona | 26 | 8 | 2020 | Oxygen saturation | % | 104.7 |  |  |  |  | In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 26 | 8 | 2020 | Nitrate | mg/l NO3 | 0.99 |  | 0.27 | 0.09 |  | Sampling depth: Euphotic zone. CEN_ISO/Method: ISO 10304-01, 2007, modified.
GR000600030010H500 | Techniti Limni Marathona | 26 | 8 | 2020 | Electrical conductivity | μS/cm | 301.9 |  |  |  |  | In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 26 | 8 | 2020 | Dissolved oxygen | mg/l O2 | 8.34 |  |  |  |  | In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 26 | 8 | 2020 | pH | pH | 8.48 |  |  |  |  | In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 26 | 8 | 2020 | BOD5 | mg/l | 1.7 |  |  |  |  | Sampling depth: Euphotic zone. BOD5 was measured manometrically using a BOD-analyzer. Preservation and handling of water samples for BOD5 analysis according to ISO 5667-3:2012
GR000600030010H500 | Techniti Limni Marathona | 7 | 12 | 2020 | Total phosphorus | mg/l P | 0.012 | < | 0.012 |  |  | Sampling depth: Euphotic zone. APHA* 4500-P E, Standard methods for the examination of water and wastewater. 2012. 22ndedition.
GR000600030010H500 | Techniti Limni Marathona | 7 | 12 | 2020 | Temperature (water) | °C | 14.1 |  |  |  |  | In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 7 | 12 | 2020 | Secchi depth | m | 3.8 |  |  |  |  | Use of Secchi Disc
GR000600030010H500 | Techniti Limni Marathona | 7 | 12 | 2020 | Oxygen saturation | % | 92.8 |  |  |  |  | In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 7 | 12 | 2020 | Nitrate | mg/l NO3 | 0.42 |  | 0.27 | 0.09 |  | Sampling depth: Euphotic zone. CEN_ISO/Method: ISO 10304-01, 2007, modified.
GR000600030010H500 | Techniti Limni Marathona | 7 | 12 | 2020 | Electrical conductivity | μS/cm | 306.7 |  |  |  |  | In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 7 | 12 | 2020 | Dissolved oxygen | mg/l O2 | 9.25 |  |  |  |  | In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 7 | 12 | 2020 | pH | pH | 8.29 |  |  |  |  | In situ measurement with portable meter
GR000600030010H500 | Techniti Limni Marathona | 7 | 12 | 2020 | Total suspended solids | mg/l | 0.7 |  |  |  |  | Sampling depth: Euphotic zone. APHA* 2540 D, Standard methods for the examination of water and wastewater. 2012. 22ndedition.

## ΜΕΤΡΗΣΕΙΣ ΘΡΕΠΤΙΚΑ 2021
ΕΘΝΙΚΟΣ_ΚΩΔΙΚΟΣ_ΣΤΑΘΜΟΥ | ΕΘΝΙΚΟ_ΟΝΟΜΑ_ΣΤΑΘΜΟΥ | ΗΜΕΡΑ_ΔΕΙΓΜΑΤΟΛ | ΜΗΝΑΣ_ΔΕΙΓΜΑΤΟΛ | ΕΤΟΣ_ΔΕΙΓΜΑΤΟΛ | ΠΑΡΑΜΕΤΡΟΣ | ΜΟΝΑΔΑ_ΜΕΤΡΗΣΗΣ | ΜΕΤΡΗΣΗ | ΕΚΤΟΣ_ΟΡΙΟΥ_ΠΟΣΟΤΙΚΟΠΟΙΗΣΗΣ | ΟΡΙΟ_ΠΟΣΟΤΙΚΟΠΟΙΗΣΗΣ | ΟΡΙΟ_ΑΝΙΧΝΕΥΣΗΣ | ΒΑΘΟΣ_ΔΕΙΓΜΑΤΟΣ | ΣΧΟΛΙΑ
EL0626RL00000001H500 | Techniti Limni Marathona | 24 | 2 | 2021 | Total phosphorus | mg/l P | 0.013 |  | 0.012 |  |  | Sampling depth: Euphotic zone. APHA* 4500-P E, Standard methods for the examination of water and wastewater. 2012. 22ndedition.
EL0626RL00000001H500 | Techniti Limni Marathona | 24 | 2 | 2021 | Temperature (water) | °C | 10.9 |  |  |  |  | In situ measurement with portable meter
EL0626RL00000001H500 | Techniti Limni Marathona | 24 | 2 | 2021 | Secchi depth | m | 5.2 |  |  |  |  | Use of Secchi Disc
EL0626RL00000001H500 | Techniti Limni Marathona | 24 | 2 | 2021 | Oxygen saturation | % | 96.7 |  |  |  |  | In situ measurement with portable meter
EL0626RL00000001H500 | Techniti Limni Marathona | 24 | 2 | 2021 | Nitrate | mg/l NO3 | 1.1 |  | 0.9 | 0.3 |  | Sampling depth: Euphotic zone. ASTM D4327-91, IC-CD modified.
EL0626RL00000001H500 | Techniti Limni Marathona | 24 | 2 | 2021 | Nitrite | mg/l NO2 | 0.015 | < | 0.015 | 0.005 |  | Sampling depth: Euphotic zone. APHA 4500-NO2 B, modified.
EL0626RL00000001H500 | Techniti Limni Marathona | 24 | 2 | 2021 | Electrical conductivity | μS/cm | 317.1 |  |  |  |  | In situ measurement with portable meter
EL0626RL00000001H500 | Techniti Limni Marathona | 24 | 2 | 2021 | Dissolved oxygen | mg/l O2 | 10.59 |  |  |  |  | In situ measurement with portable meter
EL0626RL00000001H500 | Techniti Limni Marathona | 24 | 2 | 2021 | pH | pH | 7.71 |  |  |  |  | In situ measurement with portable meter
EL0626RL00000001H500 | Techniti Limni Marathona | 24 | 2 | 2021 | Total suspended solids | mg/l | 0.84 |  |  |  |  | Sampling depth: Euphotic zone. APHA* 2540 D, Standard methods for the examination of water and wastewater. 2012. 22ndedition.
EL0626RL00000001H500 | Techniti Limni Marathona | 24 | 2 | 2021 | BOD5 | mg/l | 3.6 |  |  |  |  | Sampling depth: Euphotic zone. BOD5 was measured manometrically using a BOD-analyzer. Preservation and handling of water samples for BOD5 analysis according to ISO 5667-3:2012
EL0626RL00000001H500 | Techniti Limni Marathona | 19 | 5 | 2021 | Total phosphorus | mg/l P | 0.014 |  | 0.012 |  |  | Sampling depth: Euphotic zone. APHA* 4500-P E, Standard methods for the examination of water and wastewater. 2012. 22ndedition.
EL0626RL00000001H500 | Techniti Limni Marathona | 19 | 5 | 2021 | Nitrate | mg/l NO3 | 1.3 |  | 0.27 | 0.09 |  | Sampling depth: Euphotic zone. CEN_ISO/Method: ISO 10304-01, 2007, modified.
EL0626RL00000001H500 | Techniti Limni Marathona | 19 | 5 | 2021 | Nitrite | mg/l NO2 | 0.29 | < | 0.29 | 0.1 |  | Sampling depth: Euphotic zone. CEN_ISO/Method: ISO 10304-01, 2007, modified.
EL0626RL00000001H500 | Techniti Limni Marathona | 19 | 5 | 2021 | Total suspended solids | mg/l | 2.72 |  |  |  |  | Sampling depth: Euphotic zone. APHA* 2540 D, Standard methods for the examination of water and wastewater. 2012. 22ndedition.
EL0626RL00000001H500 | Techniti Limni Marathona | 19 | 5 | 2021 | BOD5 | mg/l | 2.8 |  |  |  |  | Sampling depth: Euphotic zone. BOD5 was measured manometrically using a BOD-analyzer. Preservation and handling of water samples for BOD5 analysis according to ISO 5667-3:2012
EL0626RL00000001H500 | Techniti Limni Marathona | 15 | 7 | 2021 | Total phosphorus | mg/l P | 0.016 |  | 0.012 |  |  | Sampling depth: Euphotic zone. APHA* 4500-P E, Standard methods for the examination of water and wastewater. 2012. 22ndedition.
EL0626RL00000001H500 | Techniti Limni Marathona | 15 | 7 | 2021 | Temperature (water) | °C | 25.8 |  |  |  |  | In situ measurement with portable meter
EL0626RL00000001H500 | Techniti Limni Marathona | 15 | 7 | 2021 | Secchi depth | m | 4.6 |  |  |  |  | Use of Secchi Disc
EL0626RL00000001H500 | Techniti Limni Marathona | 15 | 7 | 2021 | Oxygen saturation | % | 106.9 |  |  |  |  | In situ measurement with portable meter
EL0626RL00000001H500 | Techniti Limni Marathona | 15 | 7 | 2021 | Nitrate | mg/l NO3 | 0.42 |  | 0.27 | 0.09 |  | Sampling depth: Euphotic zone. CEN_ISO/Method: ISO 10304-01, 2007, modified.
EL0626RL00000001H500 | Techniti Limni Marathona | 15 | 7 | 2021 | Nitrite | mg/l NO2 | 0.29 | < | 0.29 | 0.1 |  | Sampling depth: Euphotic zone. CEN_ISO/Method: ISO 10304-01, 2007, modified.
EL0626RL00000001H500 | Techniti Limni Marathona | 15 | 7 | 2021 | Dissolved oxygen | mg/l O2 | 8.46 |  |  |  |  | In situ measurement with portable meter
EL0626RL00000001H500 | Techniti Limni Marathona | 15 | 7 | 2021 | pH | pH | 7.9 |  |  |  |  | In situ measurement with portable meter
EL0626RL00000001H500 | Techniti Limni Marathona | 15 | 7 | 2021 | Total suspended solids | mg/l | 1.98 |  |  |  |  | Sampling depth: Euphotic zone. APHA* 2540 D, Standard methods for the examination of water and wastewater. 2012. 22ndedition.
EL0626RL00000001H500 | Techniti Limni Marathona | 15 | 7 | 2021 | BOD5 | mg/l | 1.7 |  |  |  |  | Sampling depth: Euphotic zone. BOD5 was measured manometrically using a BOD-analyzer. Preservation and handling of water samples for BOD5 analysis according to ISO 5667-3:2012
EL0626RL00000001H500 | Techniti Limni Marathona | 28 | 9 | 2021 | Total phosphorus | mg/l P | 0.012 |  | 0.012 |  |  | Sampling depth: Euphotic zone. APHA* 4500-P E, Standard methods for the examination of water and wastewater. 2012. 22ndedition.
EL0626RL00000001H500 | Techniti Limni Marathona | 28 | 9 | 2021 | Nitrate | mg/l NO3 | 1 | < | 1 | 0.33 |  | Sampling depth: Euphotic zone. HACH LCK 339
EL0626RL00000001H500 | Techniti Limni Marathona | 28 | 9 | 2021 | Nitrite | mg/l NO2 | 0.04 | < | 0.04 | 0.01 |  | Sampling depth: Euphotic zone. HACH LCK 314
EL0626RL00000001H500 | Techniti Limni Marathona | 28 | 9 | 2021 | Total suspended solids | mg/l | 2.52 |  |  |  |  | Sampling depth: Euphotic zone. APHA* 2540 D, Standard methods for the examination of water and wastewater. 2012. 22ndedition.
EL0626RL00000001H500 | Techniti Limni Marathona | 28 | 9 | 2021 | BOD5 | mg/l | 0.3 |  |  |  |  | Sampling depth: Euphotic zone. BOD5 was measured manometrically using a BOD-analyzer. Preservation and handling of water samples for BOD5 analysis according to ISO 5667-3:2012
EL0626RL00000001H500 | Techniti Limni Marathona | 16 | 11 | 2021 | Total phosphorus | mg/l P | 0.022 |  | 0.012 |  |  | Sampling depth: Euphotic zone. APHA* 4500-P E, Standard methods for the examination of water and wastewater. 2012. 22ndedition.
EL0626RL00000001H500 | Techniti Limni Marathona | 16 | 11 | 2021 | Temperature (water) | °C | 16 |  |  |  |  | In situ measurement with portable meter
EL0626RL00000001H500 | Techniti Limni Marathona | 16 | 11 | 2021 | Secchi depth | m | 3.8 |  |  |  |  | Use of Secchi Disc
EL0626RL00000001H500 | Techniti Limni Marathona | 16 | 11 | 2021 | Oxygen saturation | % | 89 |  |  |  |  | In situ measurement with portable meter
EL0626RL00000001H500 | Techniti Limni Marathona | 16 | 11 | 2021 | Nitrate | mg/l NO3 | 1 | < | 1 | 0.33 |  | Sampling depth: Euphotic zone. HACH LCK 339
EL0626RL00000001H500 | Techniti Limni Marathona | 16 | 11 | 2021 | Nitrite | mg/l NO2 | 0.04 | < | 0.04 | 0.01 |  | Sampling depth: Euphotic zone. HACH LCK 314
EL0626RL00000001H500 | Techniti Limni Marathona | 16 | 11 | 2021 | Electrical conductivity | μS/cm | 281.7 |  |  |  |  | In situ measurement with portable meter
EL0626RL00000001H500 | Techniti Limni Marathona | 16 | 11 | 2021 | Dissolved oxygen | mg/l O2 | 8.58 |  |  |  |  | In situ measurement with portable meter
EL0626RL00000001H500 | Techniti Limni Marathona | 16 | 11 | 2021 | pH | pH | 8.38 |  |  |  |  | In situ measurement with portable meter
EL0626RL00000001H500 | Techniti Limni Marathona | 16 | 11 | 2021 | Total suspended solids | mg/l | 1.59 |  |  |  |  | Sampling depth: Euphotic zone. APHA* 2540 D, Standard methods for the examination of water and wastewater. 2012. 22ndedition.
EL0626RL00000001H500 | Techniti Limni Marathona | 16 | 11 | 2021 | BOD5 | mg/l | 0 |  |  |  |  | Sampling depth: Euphotic zone. BOD5 was measured manometrically using a BOD-analyzer. Preservation and handling of water samples for BOD5 analysis according to ISO 5667-3:2012